Note:  This compilation appendix is as contained in the draft of the International Green Construction Code as of 9.16.11, except for language that is struck or underlined (for deletion and inclusion respectively) as proposed by lead author Martin Hammer in his Public Comments GG475-11 and GG480-11.  Those Public Comments in their entirety will be available at www.iccsafe.org as of 9.19.11.  The appendix below reflects changes to IGCC PV2.0 via the following Code Change Proposals that were approved at the Dallas hearings in May 2011:  GG475-11, GG477-11, GG478-11, GG479-11, GG480-11, GG481-11, GG483-11, GG484-11, GG488-11

Direct questions or comments to Martin Hammer at mfhammer@pabell.net, or 510-525-0525.

APPENDIX  E

Strawbale construction

Section E101

General

E101 Scope.  This section shall govern the use of baled straw as a building material.  Unless stated otherwise in this section, the provisions of the International Building Code, the International Mechanical Code, the International Plumbing Code, the International Fuel Gas Code, NFPA 70 and other applicable codes shall apply to structures using baled straw as a building material.

SECTION E102

DEFINITIONS

E102 Definitions. The following words and terms shall, for the purposes of this appendix, have the meanings shown herein.

BALE. Equivalent to straw bale.

FLAKE. An intact slab of straw (3-5 inches thick) (76-127mm) created by the baling machine, and removed from an untied bale.

LAID FLAT. Stacking bales so the faces with the largest area are horizontal, and the longest dimension of the bale is parallel with the wall plane.

LOAD-BEARING. A strawbale wall or other element which bears the gravity loads (dead and live) of the roof and/or floor above. (compare with Structural)

MESH. An openwork fabric of linked strands of metal, plastic, or natural fiber, embedded in plaster to provide tensile reinforcement and/or bonding.

MOISTURE BARRIER. A continuous barrier capable of stopping the passage of water.

NON-LOAD-BEARING. (see Non-Structural)

NON-STRUCTURAL. A strawbale wall or other element which supports only its own weight, and may resist out-of-plane lateral loads.

ON-EDGE. Stacking bales so the faces with the largest area are vertical, and the longest dimension of the bale is parallel with the wall plane.

PINS. Metal rod, wood dowel, or bamboo, driven into, or secured on the surface of stacked bales for purposes of connection and/or stability.

PLASTER. Gypsum, lime, lime-cement, or cement plasters, as defined by the International Building Code and Section 508.6 E106 of this section appendix, or clay plaster and soil-cement plaster as defined in Section 508.6.9 E106.7 and 508.6.10 E106.8.

PRE-COMPRESSION. Permanently compressing stacked bales before application of finish.

RUNNING BOND. The placement of straw bales such that the head joints in successive courses are offset at least one quarter the bale length.

SKIN. The compilation of plaster and reinforcing, if any, applied to the surface of stacked bales.

STACK BOND. The placement of straw bales such that head joints in successive courses are vertically aligned.

STRAW. The dry stems of cereal grains after the seed heads have been removed.

STRAW BALE. A rectangular compressed block of straw, bound by polypropylene strings or baling wire.

STRAWBALE. The adjective form of straw bale.

STRAW-CLAY. A mix of loose straw and clay binder.

STRUCTURAL. For strawbale applications, a strawbale wall or other element that supports gravity loads and dead and live loads. Such walls shall also be permitted to resist in-plane lateral loads. (dead and live) and/or resists in-plane lateral loads.

THREE-STRING BALE. A straw bale bound by three strings or wires parallel to its long dimension, approximately 15 inches x 23 inches x 42 to 48 inches long. (380mm x 584mm x 1066 to 1219mm)

TRUTH WINDOW. An area of a strawbale wall left without its finish, to allow view of the straw otherwise concealed by its finish.

TWO-STRING BALE. A straw bale bound by two strings or wires parallel to its long dimension, approximately 16 or 14 inches x 18 inches x 36 to 45 inches long (406 or 356mm x 457mm x 914 to 114mm).

VAPOR-PERMEABLE MEMBRANE. A material or covering having a permeance rating of 5 perms or greater, when tested in accordance with the dessicant method using Procedure A of ASTM E 96. A vapor permeable material permits the passage of moisture vapor. (This definition is shown for convenience and is identical to that shown in the IBC)

VAPOR RETARDER. A vapor-resistant material, membrane or covering such as foil, plastic sheeting or insulation facing having a permeance rating of 1 perm or less, when tested in accordance with the dessicant method using Procedure A of ASTM E 96. Vapor retarders limit the amount of moisture vapor that passes through a material or wall assembly. (This definition is shown for convenience and is identical to that shown in the IBC)

SECTION E103

MATERIALS BALES

E103 Bales. Bales for strawbale construction that is intended to comply with this appendix shall be in accordance with the requirements of Sections E103.1 through E103.9.

E103.1 Shape. Bales shall be rectangular in shape.

E103.2 Size. Bales used within a continuous wall shall be of consistent height and width to ensure even distribution of loads within the wall system.

E103.3 Ties. Bales shall be bound with ties of polypropylene twine string with a minimum 210 lb. knot strength,  or minimum 14 gauge steel baling wire. Ties shall be at least 3 inches (76mm) and not more than 6 inches  (152mm) from faces adjacent and parallel to the ties, and shall be otherwise equally spaced. Bales with broken or loose ties shall be firmly retied to equal tension of unbroken ties.

E103.4 Moisture content. The moisture content of bales, at the time of procurement, and at the time of application of the first coat of plaster or installation of another weather protective finish, shall not exceed 20 percent of the total weight of the bale. The moisture content of bales shall be determined by use of a moisture meter designed for use with baled straw or hay, equipped with a probe of sufficient length to reach the center of the bale. At least 5 percent of and not less than 10 of the bales used shall be randomly selected and tested to determine if all of the bales for the building are of acceptable moisture content.

E103.5 Density. Bales shall have a minimum dry density of 6.5 pounds per cubic foot (92 kg/cubic meter). The dry density shall be determined by reducing the actual bale weight by the weight of the moisture content in pounds (kg), and dividing by the volume of the bale in cubic feet (cubic meters). At least 2 percent of and not less than 5 of the bales to be used shall be randomly selected and tested to determine that the bales for the building are of acceptable density.

E103.6 Partial bales. Custom-made partial bales shall be firmly retied to original tension and, where possible, utilize the same number of ties as the standard size bales.

E103.7 Types of straw. Bales shall be made of straw from wheat, rice, rye, barley, oat, and similar grain plants.  Bales of hay and other grasses containing seed shall not be used.

E103.8 Protection of bales prior to installation. Prior to installation, bales shall be stored so as to protect them from weather and other sources of moisture damage.

E103.9 Unacceptable bales. Bales that show signs of damage from moisture, including but not limited to, mold or fungus growth or associated discoloration, including those bales that are of an acceptable moisture content and density, shall not be used.

SECTION E104

MOISTURE CONTROL

E104 Moisture control. All weather-exposed bale walls, other weather-exposed bale elements, and bale walls enclosing showers or steam rooms, shall be protected from water damage and moisture intrusion in accordance with Sections E104.1 through E104.6.

E104.1 Moisture content of bales. The moisture content of bales shall be in accordance with Section E103.4.

E104.2 Moisture barriers and vapor retarders. Plastered bale walls shall be permitted to be constructed without any membrane barrier between straw and plaster to facilitate transpiration of moisture from the bales, or to secure a structural bond between straw and plaster, except as allowed or required elsewhere in this section. A vapor retarder shall not be used on bale walls, nor shall any other material be used, that has a vapor permeance rating of less than 5 perms, except as permitted or required elsewhere in this section, or as deemed to be necessary by an architect or engineer.

E104.3 Horizontal surfaces. Bale walls and other bale elements shall have a moisture barrier at all horizontal surfaces exposed to weather. The moisture barrier shall be of a material and installation that will prevent water from entering the wall system or other bale element. Horizontal surfaces shall include, but are not limited to, exterior window sills, sills at exterior niches, bale vaults and arches, tops of landscape walls, and weather-exposed benches. The finish material at all such surfaces shall be sloped not less than 1 unit vertical in 12 units horizontal (8-percent slope) and shall drain water away from all bale walls and elements. Where the moisture barrier is below the finish material, it shall be sloped not less than 1 unit vertical in 12 units horizontal (8-percent slope) and shall drain water beyond the outside surface of the bale’s vertical finish.

E104.4 Bale and concrete separation. A moisture barrier and a capillary break shall be installed between bales and supporting concrete or masonry. The moisture barrier shall be a durable sheet or liquid applied membrane that is impervious to water. The capillary break shall be gravel or other material that prevents the wicking of moisture across that material and into the bale. Where bales abut a concrete or masonry wall that retains earth, a moisture barrier shall be provided between such wall and the bales.

E104.5 Separation of plaster and earth. Exterior plaster skins applied to straw bales shall be separated from the earth by a distance of not less than 6 inches (152mm).

E104.6 Shower walls, steam rooms. Bale walls enclosing showers, bathtub/shower combinations or steam rooms shall be protected by a moisture barrier or by a vapor retarder.

SECTION E105

STRUCTURAL REQUIREMENTS

E105 General. Buildings constructed with straw bales shall comply with the structural provisions of the International Building Code, except as otherwise provided for in Sections E105.1 through E105.15.

E105.1 Foundations. Foundations for strawbale walls and other straw bale elements shall be of any foundation type permitted by the International Building Code.

E105.2 Wall height. Structural and non-structural strawbale walls shall not exceed a 6:1 ratio of stacked bale height to bale width, except where engineering is provided to substantiate that the wall will resist buckling from gravity loads and out-of-plane seismic and wind loads.

E105.3 Configuration of bales. Bales shall be laid flat or on-edge.  Bales in non-structural walls with reinforced plaster shall be laid in a running or stack bond. Bales in structural walls with unreinforced plaster shall be laid in a running bond.

E105.4 Pre-compression of strawbale walls. Prior to application of a finish surface, walls bearing gravity loads shall be permanently pre-compressed by an approved means.  The pre-compressoin force shall be equal to or greater than the design loads on the wall.

Exceptions:

1.  Walls bearing roof loads shall not be required to be pre-compressed where the design ground snow load does not exceed 20 psf (80kg/sq.m), and where the full dead load of the roof is imposed and remains on the wall not less than 14 days before application of finish.

2.  Assembled bales in applications other than walls bearing gravity loads, including for use in lateral load resisting elements, shall not be required to be pre-compressed.

E105.5 Voids and stuffing. Voids between bales in structural strawbale walls shall not exceed 4 inches (101mm) in width, and such voids shall be firmly stuffed with flakes of straw or straw-clay, before application of finish.

E105.6 Plaster skins. Plaster skins on structural walls shall be of any type permitted by Section E106 except gypsum plaster, and shall also be limited by Tables E105.9 and E105.10.

E105.6.1 Straightness. On structural walls, plaster skins shall be straight, as a function of the bale wall surface they are applied to, as follows:

- Across the face of a bale – Straw bulges shall not protrude more than 3/4 inch (19mm) across 2 feet (610mm) of its height or length.

- Across the face of a bale wall – Straw bulges shall not protrude from the vertical plane of a bale wall more than 2 inches (51mm) over 8 feet (2438mm).

- Offset of bales – The vertical face of adjacent bales shall not be offset more than 1/2 inch (13mm)

E105.6.2 Plaster and membranes. Structural bale walls shall not have a membrane between straw and plaster, or shall have attachment through the bale wall from one plaster skin to the other in accordance with an engineered design.

E105.7 Transfer of loads to plaster skins. Where plastered strawbale walls are used to carry gravity loads, such loads shall be transferred to the plaster skins by continuous direct bearing or by and engineered design. Lateral loads shall be transferred by the reinforcing mesh fastened to the sill plate, the structural members above, and any vertical boundary member, in accordance with Table E105.10, or by an engineered design.

E105.8 Support of plaster skins. Support of plaster skins shall be in accordance with Sections E105.8.1 and E105.8.2.

507.4.8.1 Support of plaster skins for structural walls. Plaster skins for structural strawbale walls shall be continuously supported along their bottom edge to facilitate the transfer of loads to the foundation system. Acceptable supports include, but are not limited to: concrete or masonry stem wall, concrete slab, wood-framed floor adequately blocked, wood beam, or steel angle adequately anchored. A conventional metal or plastic weep screed alone shall not be considered an acceptable support.

507.4.8.2 Support of plaster skins for non-structural walls. Plaster skins for non-structural walls shall not be required to be supported along their bottom edge.

E105.9 Load-bearing strawbale walls. Load-bearing strawbale walls are limited to use in one-story buildings, and shall be in accordance with Table E105.9 and shall be limited by the allowable load values therein.

E105.10 Lateral load resisting strawbale walls. Strawbale walls shall be permitted to be used to resist in-plane lateral wind and seismic forces for one-story buildings when engineered and constructed where detailed in accordance with Table E105.10, and shall be limited by the allowable load values therein. Other lateral load resisting systems including, but not limited to, plywood shear walls, pre-fabricated steel moment frames and steel cross-bracing, shall be permitted where they are in accordance with the prescriptive or performance based requirements of the International Building Code.

E105.11 Design coefficients and factors for seismic design. The values given in Table E105.11 shall apply to reinforced plastered straw bale walls detailed in accordance with Table E105.10.

TABLE E105.11

DESIGN COEFFICIENTS AND FACTORS FOR SEISMIC-FORCE-RESISTING SYSTEMS

| Seismic-Force-Resisting System | Response Modification Coefficient, Ra | System Overstrength Factor, Omegab | Deflection Amplification Factor, C | Structural System Limitations and Building Height (ft) Limitc |
| --- | --- | --- | --- | --- |
|  |  |  |  | Seismic Design Category |
|  |  |  |  | B | C | D | E | F |
| A. Bearing Wall Systems |
| Reinforced plastered straw bale walls | 1.5 3 | 3 | 4 | NP 25 | NP 25 | NP 25 | NP 25 | NP 25 |
| B. Building Frame Systems |
| Reinforced plastered straw bale walls | 1.5 3.5 | 3 | 4.5 | NP 25 | NP 25 | NP 25 | NP 25 | NP 25 |

- R reduces forces to a strength level, not an allowable stress level

- The tabulated value of the overstrength factor shall be permitted to be reduced by subtracting one-half for structures with flexible diaphragms, but shall not be taken as less than 2.0 for any structure.

- HBuilding height shall be defined in accordance with the International Building Code, and shall be limited to one-story.  Unrestrained bale wall height shall be limited by E105.2.

TABLE E105.9

ALLOWABLE GRAVITY LOADS (POUNDS PER FOOT) FOR PLASTERED STRAWBALE WALLS

| WALL | PLASTERa | SILL PLATESb, c | ANCHOR3 BOLTS (or other sill fastening) | MESHd | STAPLESe, f, g | ALLOWABLE BEARING CAPACITYh (plf) |
| --- | --- | --- | --- | --- | --- | --- |
| A | Clayi | c | c | none requiredj | none required10 | 300 |
| B | soil-cementk | c | c | d | e, f, g | 800 |
| C | lime | c | c | d | e, f, g | 450 |
| D | cement-lime | c | c | d | e, f, g | 800 |
| E | cement | c | c | d | e, f, g | 800 |

For SI:  1 inch=25.4mm, 1 pound per foot = 14.5939 N/m.

- Plasters shall conform with Sections E106.9 through E106.12 for makeup and thickness, with Section E105.6.1 for straightness, and with Section E105.8 for support of plaster skins.

- Sill plates shall support and be flush with each face of the bale wall.

- For walls supporting gravity loads only or for non-structural walls, sill plates and fastening shall be in accordance with the requirements for wood framed walls in the International Building Code.  See Table E105.10 for requirements for shear walls and braced panel walls.

- Any metal mesh allowed by this section shall be installed throughout the plaster with minimum 4-inch laps and fastened per footnote e.

- Staples shall be at maximum spacing of 2-inches o.c., to roof or floor bearing assembly, or as shown necessary to transfer loads into the plaster skins in accordance with Section E106.8, and at a maximum spacing of 4-inches o.c. to sill plates.

- Staples shall be gun staples, stainless steel or electro-galvanized, 16 gauge with 1 ¼-inch legs, 7/16-inch crown; or manually driven staples, galvanized 15 gauge with 7/8-inch legs, 3/16-inch inner spread and rounded shoulder.  Other staples shall be permitted to be used as designed by an architect or engineer.

- Staples shall be firmly driven, diagonally across mesh intersections at the spacing indicated.

- For walls with a different plaster on each side, the lower value shall be used.

- Minimum 1 ½-inch thickness. A compression test shall be provided that demonstrates a minimum 100 psi compressive strength.

- Except as necessary to transfer roof or floor loads to the plaster skins per E106.8.

- Minimum 1 ½-inch thickness.  A compression test shall be provided that demonstrates a minimum 6001000 psi compressive strength.

TABLE E105.10

ALLOWABLE SHEAR (POUNDS PER FOOT) FOR PLASTERED STRAWBALE PANELS

| WALL | PLASTERa (both sides) | SILL PLATESb | ANCHORc BOLTS (on center) | MESHd | STAPLESe, f, g (on center) | ALLOWABLE SHEARh, i (plf) |
| --- | --- | --- | --- | --- | --- | --- |
| A1 | Clayj | 2x4 | 2 ft. 8 in. | none | none | 60 |
| A2 | Clayj | 2x4 | 2 ft. 8 in. | 3 in. by 3 in. knotted sisal | 3-inches | 70 |
| A3 | Clayj | 2x4 | 2 ft. 8 in. | 2 in. by 2 in. high-density polypropylene | 2-inches | 100 120 |
| A4 | Clayj | 2x4 | 2 ft. 8 in. | 2”x2”x14gak | 4-inches | 150 160 |
| B | Soil-cementl | 4x4 | 2 ft. 0 in | 2 in. by 2 in. by14gak | 2-inches | 260 320 |
| C1 | Lime | 2x4 | 2 ft. 8 in. | 17ga. woven wire | 3-inches | 130 180 |
| C2 | Lime | 4x4 | 2 ft. 0 in | 2 in. by 2 in. by14gak | 2-inches | 190 260 |
| D1 | Cement-lime | 4x4 | 2 ft. 8 in. | 17ga. woven wire | 2-inches | 210 280 |
| D2 | Cement-lime | 4x4 | 2 ft. 0 in. | 2 in. by 2 in. by14gak | 2-inches | 260 380 |
| E1 | Cement | 4x4 | 2 ft. 8 in. | 2 in. by 2 in. by14gak | 2-inches | 440 480 |
| E2 | Cementm | 4x4 | 2 ft. 0 in. | 2 in. by 2 in. by14gak | 2-inches | 740 640 |

- Plasters shall conform with Sections E106.7 through E106.12 for makeup and thickness, with Section E105.6.1 for straightness, and with Section E106.8 for support of plaster skins.

- Sill plates shall be Douglas fir-larch or southern pine and shall be preservative-treated where required by the International Building Code.  Multiply allowable shear value by .82 for other species with specific gravity of .42 or greater, or by .65 for all other species.

- Anchor bolts shall be 5/8-inch diameter with 2-inch by 2-inch by3/16-inch washers, with minimum 7-inch embedment in concrete or masonry foundation.  Anchor bolts or other fasteners into framed floors shall be engineered.

- Mesh shall run continuous vertically from sill plate to top plate, roof or floor beam, or roof or floor bearing assembly, or shall lap a minimum 12-inches.  Horizontal laps shall be a minimum of 4-inches.  Steel mesh shall be galvanized. Galvanized steel mesh shall be separated from preservative treated wood by grade D paper, 15# roofing felt, or other approved barrier.

- Staples shall be gun staples, stainless steel or electro-galvanized, 16 gauge with 1 ¼-inch legs, 7/16-inch crown; or manually driven staples, galvanized 15 gauge with 7/8-inch legs, 3/16-inch inner spread and rounded shoulder.  Other staples shall be permitted to be used as designed by registered design professional.  Staples into pressure treated wood shall be stainless steel for shear panels only.

- Staples at spacing indicated to boundary conditions, including sill plate, and top plate, roof or floor beam, or roof or floor bearing assembly, and any vertical boundary framing.

- Staples shall be firmly driven diagonally across mesh intersections at spacing indicated.

- Values shown are for aspect ratios of 1:1 or less.  Reduce values shown to 50% for the limit of a 2:1 aspect ratio.  Linear interpolation shall be permitted for ratios between 1:1 and 2:1.  The full value shown shall be used for aspect ratios greater than 1:1, where an additional layer of mesh is installed at the base of the wall to a height where the remainder of the wall has an aspect ratio of 1:1 or less, and the second layer of mesh is fastened to the sill plate with the required stapling, and the sill bolt spacing is decreased with linear interpolation between1:1 and 2:1.

- For walls with a plaster Type A on one side and any other plaster type on the other side, the registered design professional shall show transfer of the design lateral load into the stiffer Type B, C, D, or E plaster only, and 50% of the allowable shear value shown for that wall type shall be used.

- Minimum 1 ½-inch thickness.  The building official shall be permitted to require a compression test to demonstrate a minimum 150100 psi compressive strength.

- 16 gauge mesh shall be permitted to be used with a reduction to .85 of the allowable shear values shown.

- Minimum 1 ½-inch thickness. The building official shall be permitted to require a compression test to demonstrate a minimum 600 psi compressive strength. A compression test shall be provided that demonstrates a minimum 1000psi compressive strength.

- 1 ½-inch thickness.

E105.12 Resistance to out-of-plane lateral loads. Plastered strawbale walls shall be considered to be capable of withstanding out-of-plane design loads prescribed in the International Building Code with the following limitations and requirements, except where an engineered design is provided:

- Walls with reinforced plasters shall not exceed a 6:1 ratio of stacked bale height to bale width in accordance with Section E105.2.

- Walls with unreinforced plasters shall be not exceed a 4:1 ratio of stacked bale height to bale width.

- Walls with unreinforced plasters or no plaster, and with internal or external pins, shall not exceed a 6:1 ratio of stacked bale height to bale width.  Pins shall be 1/2 inch (13mm) diameter steel, wood or bamboo. Internal pins shall be installed vertically at a maximum 2 foot (610mm) spacing into the bales from top course to bottom course, with the bottom course being connected to its support similarly with pins or other approved means.  Internal pins shall be continuous or shall overlap through one bale course. External pins shall be installed on both sides of the wall at a maximum 2 foot (610mm) spacing. External pins shall have full lateral bearing on the sill plate and the roof or floor bearing member, and shall be tightly tied through the wall to an opposing pin with polypropylene string at 30 inch (762mm) maximum spacing and maximum 15 inches (381mm) from each end.

E105.13 Prescriptive design for plastered structural strawbale walls. Plastered strawbale walls shall be permitted to be used structurally for one-story buildings without engineered design, where such walls comply with Sections E105.13, E105.13.1, E105.13.2 and E105.13.3.  Such walls shall also comply with Sections E105.3 through E105.9 and E105.12, and shall comply with other parts of this appendix as applicable.

E105.13.1 Loads and other limitations. Loads and other limitations shall be in accordance with Section 2308.2 Items 3 through 7 and Section 2308.2.2 of the International Building Code.

E105.13.2 Gravity load-bearing walls. Gravity load bearing walls shall be limited to use in one-story buildings, and to wall types B, C, D, and E in Table E105.9, except that type A walls shall be permitted where they are demonstrated to support design loads no greater than the allowable load indicated in Table E105.9.

E105.13.3 Braced panels. Strawbale shear walls shall be permitted to be used as braced panels for one-story buildings in accordance with Sections 2308.9.3 and 2308.12 of the International Building Code. Strawbale shear panel types B, C2, D, and E, as indicated in Table E105.10, shall be permitted to be used in situations where braced wall panel Types 2, 3, 4, 6, or 7, or 8 are permitted. Strawbale shear panel Types A and C1 shall be permitted to be used in situations where braced wall panel Types 1 or 5 are permitted.

E105.14 Connection of framed walls to strawbale walls. Framed walls perpendicular to, or at an angle to a straw bale wall assembly, shall be fastened to the bottom and top wood members of the strawbale wall in accordance with requirements for framed wood walls in the International Building Code. Where such connection is not possible, the abutting stud shall be connected to alternating straw bale courses with a 1/2 inch (13mm) diameter steel, wood, or bamboo dowel with minimum 8 inch (203mm) penetration.

E105.15 Alternate performance design criteria. Where plastered strawbale walls and other plastered strawbale elements are engineered, the engineered design shall be in accordance with the following performance based criteria:

- The design of strawbale structural elements and systems shall be based on rational analysis in accordance with established principles of mechanics. A complete load path shall be provided, capable of transferring all loads from their point of origin to all load-resisting elements based on a rational connection of the components.

- For elements dominated by flexural deformation, principles of mechanics as applied to the analysis of under-reinforced (tension-controlled) reinforced concrete members shall be permitted to be used in the analysis of reinforced plasters, including those with binders other than cement. At regions of discontinuity, strut and tie models shall be permitted to be used in the analysis of reinforced plasters. The strength, stiffness, and deformation compatibility of any plaster, reinforcement, and strawbale components shall be considered in the analysis.

- Suitable test data shall be permitted to be used to develop design values to achieve performance consistent with other materials, components, and systems recognized by the International Building Code.

SECTION E106

FINISHES

E106 General. Finishes applied to strawbale walls shall be permitted to be of any type permitted by the International Building Code and shall comply with Sections E106.1 through E106.15 of this appendix and Chapters 14 and 25 of the International Building Code, except as otherwise stated in Sections E106.1 through E106.15. Strawbale walls and other strawbale elements shall be finished so as to provide mechanical protection, fire resistance, restrict the passage of air through the bales, and to protect them from weather in accordance with this section and the International Building Code.

Exception: Truth windows are permitted where a fire-resistive rating is not required and they are protected from the weather.

E016.1 Vapor retarders. Vapor retarders shall not be used on a bale wall, nor shall any other material be used that has a vapor permeance rating less than 5 perms, except as permitted or required elsewhere in Sections E106.1 through E106.15, or as deemed to be necessary by an architect or engineer.

E106.2 Plaster. Plaster applied to bales shall be of any type described in Sections E106.37 through E106.1512.

E106.3 Plaster and membranes. Plaster shall be permitted to be applied directly to strawbale walls and other strawbale elements, to facilitate transpiration of moisture from the bales, and to secure a mechanical bond between the skin and the bales, except where a membrane is allowed or required elsewhere in this section. Structural bale walls shall not have a membrane between straw and plaster, or shall have sufficient attachment through the bale wall from one plaster skin to the other in accordance with an engineered design.

E106.4 Lath and mesh for plaster. The surface of the straw bales shall be considered to function as lath, and no other lath or mesh shall be necessary, except as required for tensile strength of the plaster or wall assembly in particular structural applications as required by Section E105 or an engineered design.

E106.5 Plaster on non-structural walls. Plaster on walls that do not carry gravity loads, and are not designed to resist in-plane lateral forces, shall be permitted to be any plaster that is in accordance with Sections E106.7 through E106.12.

E106.6 Plaster on structural walls. Plaster on structural walls shall comply with Sections E106.7 through E106.12. Plaster on walls that carry gravity loads shall comply with Table E105.9. Plaster on walls designed to resist in-plane lateral forces, shall comply with Table E105.10.

## E106.7 Clay, earth and earthen plaster. Clay, earth and earthen plaster shall be any plaster having a binder of clay. Such plaster shall also contain sand or other inert granular material, shall be in accordance with Sections E106.7.1 through E106.7.6, and shall be permitted to contain reinforcing fibers including, but not limited to, chopped straw and animal hair.

E106.7.1 Mesh. Plasters with clay binders shall not be required to contain mesh except as required in Table E105.10.  Where mesh is required, it shall be composed of natural fibers, corrosion-resistant metal, nylon, or high-density polypropylene.

E106.7.2 Thickness. Clay plaster shall be a minimum 1- inch (25mm) thick, unless required to be thicker for structure or fire-resistance, as described elsewhere in this appendix.

E106.7.3 Rain-exposed. Clay plaster, where exposed to rain, shall be finished with lime plaster, or other approved erosion resistant finish.

E106.7.4 Prohibited finish coat. Cement plaster and cement-lime plaster shall be prohibited as a finish coat over clay plasters.

E106.7.5 Additives. Additives shall be permitted to increase the plaster’s workability, durability, strength, or water resistance.

E106.7.6 Separation of wood and clay plaster. A separation or moisture barrier shall not be required between untreated wood and clay plaster.

E106.8 Soil-cement plaster, earth-cement, stabilized earth or pise (pneumatically impacted stabilized earth).  Soil-cement plaster, earth-cement, stabilized earth or pise shall be in accordance with Sections E106.8.1 through E106.8.3.

E106.8.1 General. Soil-cement plaster shall be comprised of earth (free of organic matter), a minimum of 10%  Portland cement, and a minimum of 20% sand or other inert granular material, and shall be permitted to contain reinforcing fibers.

E106.8.2 Mesh. Soil-cement plaster shall use any corrosion-resistant metal mesh permitted by the International Building Code, or as described in Section 507.5 where used on a structural wall.

E106.8.3 Thickness. Soil-cement plaster shall be a minimum of 1- inch (25mm) thick.

### E106.9 Gypsum plaster. Gypsum plaster in accordance with Section 2511 of the International Building Code shall be limited to use on interior surfaces and on non-structural walls.

### Exception: Gypsum plaster shall be permitted as a finish coat over a permitted structural plaster.

E106.10 Lime plaster. Lime plaster shall be any plaster having a binder that is comprised primarily of calcium hydroxide (CaOH). This includes Type N or Type S hydrated lime, hydraulic lime, natural hydraulic lime, or quicklime.  Lime plasters shall comply with ASTM Standards C5 and C206. The plaster shall be permitted to be applied in 2 coats, provided that the combined thickness is at least 7/8-inch (22mm), and each coat is not greater than 5/8-inch (16mm).  Use of lime plaster in shear panels in Table E105.10 shall be limited to those using hydraulic or natural hydraulic lime.

E106.11 Cement-lime plaster. Cement-lime plaster shall comply with Section 2512 of the International Building Code, except that the plaster shall be permitted to be applied in 2 coats, provided that the combined thickness is at least 7/8 inch (22mm), and each coat is not greater than 5/8 inch (16mm). When used in shear panels per Table E105.10 the cement-lime ratio shall be a minimum of 1:1.

E106.12 Cement plaster. Cement plaster shall comply with Section 2512 of the International Building Code, except that the amount of lime in all plaster coats shall be a minimum of 1 part lime per 6 parts cement to allow a minimum acceptable vapor permeability and that the plaster shall be permitted to be applied in 2 coats, provided that the combined thickness is at least 7/8 inch (22mm) and each coat is not greater than 5/8 inch (16mm) thick.  The combined thickness of all plaster coats shall be not more than 1 1/2 inch (38m).

E106.13  Finishes over plaster.  Other finishes, as permitted elsewhere in this appendix or the International Building Code, shall be permitted to be applied over the plaster, except as prohibited in Section E106.14.

E106.14 Prohibited plasters and finishes. Any plaster or finish with a singular or cumulative perm rating less than 5 perms is prohibited on straw bale walls or other bale elements, except where demonstrated to be necessary by an architect or engineer, or as required elsewhere in this section appendix.

E106.15 Separation of wood and plaster. Where wood framing or wood sheathing occurs in strawbale walls, such wood surfaces shall be separated from any plaster finish with No. 15 asphalt felt, grade ‘D’ paper, or other approved material in accordance with Section 1404.2 of the International Building Code, except where the wood is preservative-treated or naturally durable.

Exception: Clay plasters in accordance with Section E106.7.6.

SECTION E107

FIRE RESISTANCE

E107.1 Fire Resistance. Fire-resistance ratings for strawbale walls shall be established in accordance with Sections E107.1.1 through E107.1.3. Strawbale walls constructed with plaster finishes in accordance with Sections E107.1.1 through E107.1.3 shall be deemed to meet the conditions of acceptance as outlined in ASTM Method E119 for fire resistance of non-loadbearing walls.

E107.1.1 Clay plaster. 1-hour fire-resistance-rated clay plastered strawbale walls shall comply with all of the following:

- Bales shall be laid flat or on-edge in a running bond. Gaps shall be fire-stopped with a mixture of clay and straw.

- Bales shall maintain an average dry density of 7.5 pounds per cubic foot (120 kg/cubic meter) and maintain a minimum width of 18- inches (457mm)

- Plaster on each side of the wall shall attain a minimum thickness of 1- inch (25mm) with a mixture of 3 parts clay, 2 parts chopped straw and 6 parts sand.

- Plaster application shall be consistent with Section E106.7 for the number of coats required and the thickness per coat.

E107.1.2 Cement plaster. 2-hour fire-resistance-rated cement plastered strawbale walls shall comply with all of the following:

- Bales shall be laid flat or on-edge in a running bond. Gaps shall be fire-stopped with a mixture of clay and straw.

- Bales shall maintain an average dry density of 7.5 pounds per cubic foot (120 kg/cubic meter) and maintain a minimum width of 14- inches (381mm).

- Plaster on each side of the wall shall attain a minimum thickness of 1- inch (25mm) with a mixture of 3 parts Portland cement, 1 part lime and 10 parts sand.

- 1 ½-inch (38mm) by 17 gauge galvanized woven wire mesh shall be placed underneath the bottom course of bales, stretched vertically, and maintain a minimum 4-inch (101mm) overlap. 1 ½-inch (38mm) staples shall be fastened to the top plate at  6 inches (101mm). Mesh shall be attached to any side wood members with 1 ½-inch (38mm) staples at 16-inches (406mm) on center. 9 gauge U-pins with minimum 8- inch (203mm) legs shall be installed in the field at 18-inches (457mm) on center.

- Plaster application shall be consistent with Section E106.12 for the number of coats required and the minimum or maximum thickness per coat.

E107.1.3 Rating with other finishes. Strawbale walls shall be considered to have the same fire-resistive rating as wood-frame construction with the same wall-finishing system.

E107.4 Permitted types of construction. Strawbale walls with a fire-resistance rating in accordance with Section E107.1. 1 or E107.1.2 shall be permitted wherever non-load-bearing combustible walls of the same fire-resistance are permitted by Chapter 6 of the International Building Code. Any finish allowed by this appendix and the International Building Code shall be permitted wherever non-rated combustible walls are allowed by the International Building Code.

E107.5 Openings in rated walls. Openings and penetrations in bale walls required to have a fire-resistance rating shall satisfy the same requirements for openings and penetrations as prescribed in the International Building Code.

E107.6 Clearance to fireplaces and chimneys. Strawbale surfaces adjacent to fireplaces or chimneys shall have a minimum 1/4 inch (6mm) thick plaster coat of any type permitted by this appendix, and shall maintain the specified clearances to the plaster finish as required to combustibles in Sections 2111, 2112 and 2113 of the International Building Code, or as required by the manufacturer’s installation instructions, whichever is more restrictive.

SECTION E108

ELECTRICAL

E108 Electrical. Wiring and other elements of the electrical system within or on bale walls shall comply with NPFA 70.

SECTION E109

THERMAL INSULATION

E109 Thermal Insulation. R-values for strawbale walls shall be in accordance with Section E109.1 or E109.2.

E109.1 Wall assembly R-value. Strawbale wall assemblies constructed with 2- or 3- string bales, laid flat or on-edge, and of any grain and with any finish allowed by this section shall be considered to have a thermal resistance of R-30.

E109.2 Unit R-value. The unit R-value of a strawbale element with bales laid flat shall be R-1.3 per inch, and with bales on-edge shall be R-2 per inch.